## logo_Date
logo
Pricelist | Date:

## A.T
MODEL |  |  | SHIPPING
Name | SKU | Price | W / lbs | # Of BOXs | Box Dimension
AirTube
100 CFM ~ 7 lbs/ 1" [3 speeds]
AA AirTube Exec | ATAST1022210 | 374.98 | 17 | one box | 14" x 14" x21"
AA AirTube Exec UV | ATAST1022211 | 474.98
AA AirTube Vocarb | ATAST1032210 | 424.98
AA AirTube Vocarb UV | ATAST1032211 | 524.98
Parts
Air Tube Pre-Filters 4 pack | A3FMP009-4 | 35.98 | 0
Air Tube Pre-Filters 8 pack | A3FMP009-8 | 59.98 | 0
Air Tube Pre-Filters 24 pack | A3FMP009-24 | 155.98 | 0
Air Tube HEPA (Exec or Vocarb model) | A3FH0410 | 95.98 | 3
AirTube Exec Carbon | A3FCW301 | 95.98 | 7
AirTube Vocarb Carbon | A3FCW303 | 99.98 | 7
UV 5W | A3EL9010-5W | 47.98 | 0
AirTube Supreme
100 CFM ~ 10 lbs/ 1" [3 speeds]
AA AirTube Supreme Exec | ATAST2022210 | 474.98 | 20 | one box | 14" x 14" x22"
AA AirTube Supreme Exec UV | ATAST2022211 | 574.98
AA AirTube Supreme Vocarb | ATAST2032210 | 524.98
AA AirTube Supreme Vocarb UV | ATAST2032211 | 624.98
Parts
Air Tube Supreme Pre-Filters 4 pack | A3FMP012-4 | 47.98 | 0
Air Tube Supreme Pre-Filters 8 pack | A3FMP012-8 | 71.98 | 0
Air Tube Supreme Pre-Filters 24 pck | A3FMP012-24 | 203.98 | 0
Air Tube Supreme HEPA (Exec & Vocarb) | A3FH0420 | 107.98 | 3
AirTube Supreme Exec Carbon | A3FCW401 | 119.98 | 10
AirTube Supreme Vocarb Carbon | A3FCW403 | 167.98 | 10
UV 5W | A3EL9010 5W | 47.98 | 0

## 4000
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
4000 Exec/Vocarb
400 CFM ~ 12lbs/ 2.5" [3 speeds]
AA 4000 Exec | A4AS21222110 | 599.98 | 45 | one box | 18" x 18" x 22"
AA 4000 Exec UV | A4AS21222111 | 799.98
AA 4000 Vocarb | A4AS21232110 | 699.989
AA 4000 Exec UV | A4AS21232111 | 899.98
Parts
4000 Pre-Filters 4 Pack | 2-A4FMP006-4 | 47.98 | 0
4000 Pre-Filters 8 Pack | 2-A4FMP006-8 | 71.98 | 0
4000 Pre-Filters 24 pack | A4FMP006-24 | 203.98 | 0
4000 HEPA filter | 3-A4FH0411 | 95.98 | 5
4000 Exec Carbon filter | 3-A4FCW325 | 119.98 | 12
4000 Vocarb Carbon | 3-A4FCW225 | 191.98 | 12
4000 Carbon Wrap (Vocarb and Exec) | A4FMWS00-2 | 95.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
4000 D Exec/Vocarb
400 CFM ~ 16lbs/ 3" [3 speeds]
AA 4000 D Exec | A4AS21224110 | 799.98 | 47 | one box | 18" x 18" x 22"
AA 4000 D Exec UV | A4AS21224111 | 999.98
AA 4000 D Vocarb | A4AS21233110 | 899.98
AA 4000 D Vocarb UV | A4AS21233111 | 1099.98
Parts
4000 Pre-Filters 4 Pack | 2-A4FMP006-4 | 47.98 | 0
4000 Pre-Filters 8 Pack | 2-A4FMP006-8 | 71.98 | 0
4000 Pre-Filters 24 pack | A4FMP006-24 | 203.98 | 0
4000 Micro-HEPA (D & DX) | 3-A4FMR002 | 59.98 | 0
4000 D Exec Carbon | 3-A4FCW330 | 191.98 | 16
4000 D Vocarb Carbon | 3-A4FCW330 | 239.98 | 16
4000 Carbon Wrap (D, DX, DS, DXS ) | A4FMWS02-2 | 107.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 1
4000 DX Exec/Vocarb
400 CFM ~ 18lbs/ 3.5" [3 speeds]
AA 4000 DX Exec | A4AS21224110 | 899.98 | 18 | one box | 18" x 18" x 22"
AA 4000 DX Exec UV | A4AS21224111 | 1099.98
AA 4000 DX Vocarb | A4AS21236110 | 999.98
AA 4000 DX Vocarb UV | A4AS21236111 | 1199.98
Parts
4000 Pre-Filters 4 Pack | 2-A4FMP006-4 | 47.98 | 0
4000 Pre-Filters 8 Pack | 2-A4FMP006-8 | 71.98 | 0
4000 Pre-Filters 24 pack | A4FMP006-24 | 203.98 | 0
4000 Micro-HEPA (D & DX) | 3-A4FMR002 | 59.98 | 0
4000 DX Exec Carbon | 3-A4FCW335 | 239.98 | 18
4000 DX Vocarb Carbon | 3-A4FCW235 | 311.98 | 18
4000 Carbon Wrap (D, DX, DS, DXS ) | A4FMWS02-2 | 107.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0

## 5000
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
5000 HEPA only
400 CFM - [3 speeds]
AA 5000 HEPA Only | A5AS21200310 | 629.98 | 35 | one box | Unit & filters
AA 5000 HEPA Only UV | A5AS21200311 | 829.98
Parts
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 HEPA Filter | 3-A5FH0411 | 119.98 | 5
5000 Carbon Wrap (Voc, Exec, VOG, MCS) | A5FMWS00-2 | 107.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W (4000, 5000, 6000, 8000) | A6EL9013-10W | 119.98 | 0
5000 Exec/Vocarb/Pro
400 CFM ~ 18lbs/ 2.5" - [3 speeds]
AA 5000 Exec | A5AS21223110 | 699.98 | 50 | one box | 18" x 18" x 25"
AA 5000 Exec UV | A5AS21223111 | 899.98
AA 5000 Vocarb | A5AS21233110 | 799.98
AA 5000 Vocarb UV | A5AS21233111 | 999.98
AA 5000 Pro Exec | APAS21223110 | 999.98
AA 5000 Pro Exec UV | APAS21223111 | 1199.98
AA 5000 W Exec | A5AW21223110 | 899.98
AA 5000 W Exec UV | A5AW21223111 | 1099.98
AA 5000 W Vocarb | A5AW21233110 | 999.98
AA 5000 W Vocarb UV | A5AW21233111 | 1199.98
Parts
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 HEPA Filter | 3-A5FH0411 | 119.98 | 5
5000 Exec Carbon | 3-A5FCW325 | 155.98 | 18
5000 Vocarb Carbon | 3-A5FCW225 | 239.98 | 18
5000 Carbon Wrap (Voc, Exec, VOG, MCS) | A5FMWS00-2 | 107.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
5000 VOG
400 CFM ~ 18lbs/ 2.5" - [3 speeds]
AA 5000 VOG | A5AS21213110 | 849.98 | 50 | one box | 18" x 18" x 25"
AA 5000 VOG UV | A5AS21213111 | 1049.98
Parts
5000 Tar-Trap 5 Pack ( DS & DXS ) | 2-A5FMPS09-5 | 59.98 | 0
5000 Tar-Trap 10 Pack ( DS & DXS ) | 2-A5FMPS09-10 | 119.98 | 0
5000 HEPA Filter | 3-A5FH0411 | 119.98 | 5
5000 VOG Carbon | 3-A5FCW425 | 359.98 | 18
5000 Carbon Wrap (Voc, Exec, VOG, MCS) | A5FMWS00-2 | 107.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
5000 MCS
400 CFM ~ 18lbs/ 2.5" - [3 speeds]
AA 5000 MCS Supreme | A5AS21241M30 | 1099.98 | 50 | one box | 18" x 18" x 25"
Parts
Carbon Test Kit | A4PK7011 | 71.98 | 5 | 1 | 7" x 7" x 5"
5000 MCS Pre-Filters 4 Pack | A5FCP019-4 | 71.98 | 0
5000 MCS Pre-Filters 8 Pack | A5FCP019-8 | 119.98 | 0
5000 MCS Pre-Filters 24 pack | A5FCP019-24 | 203.98 | 0
5000 MCS HEPA filter | 3-A5FH0420 | 239.98 | 5
5000 MCS Carbon | 3-A5FCW120 | 275.98 | 18
5000 Carbon Wrap (Voc, Exec, VOG, MCS) | A5FMWS00-2 | 107.98 | 0
AA Gasket | AM000926-2 | 47.98 | 0
5000 D Exec/Vocarb
400 CFM ~ 24lbs/ 3" - [3 speeds]
AA 5000 D Exec | A5AS21224110 | 899.98 | 30 + 25 | two boxes | 18" x 18" x 25" 15" x 15" x 15"
AA 5000 D Exec UV | A5AS21224111 | 1099.98
AA 5000 D Vocarb | A5AS21234110 | 999.98
AA 5000 D Vocarb UV | A5AS21234111 | 1199.98
Parts
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 D Exec Carbon | 3-A5FCW330 | 275.98 | 24
5000 D Vocarb Carbon | 3-A5FCW230 | 359.98 | 24
5000 Carbon Wrap (D, DX, DS, DXS ) | A5FMWS02-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
5000 D MCS
400 CFM ~ 24lbs/ 3" - [3 speeds]
AA 5000 D MCS Supreme | A5AS21241M30 | 1099.98 | 30 + 25 | two box | 18" x 18" x 25" 15" x 15" x 15"
Parts
Carbon Test Kit | A4PK7011 | 71.98 | 5 | 1 | 7" x 7" x 5"
5000 MCS Pre-Filters 4 Pack | A5FCP019-4 | 71.98 | 0
5000 MCS Pre-Filters 8 Pack | A5FCP019-8 | 119.98 | 0
5000 MCS Pre-Filters 24 pack | A5FCP019-24 | 203.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 D MCS Carbon | 3-A5FCW130 | 359.98 | 18
5000 Carbon Wrap (D, DX, DS, DXS ) | A5FMWS02-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
5000 DS
400 CFM ~24lbs/ 3" - [3 speeds]
AA 5000 DS | A5AS21254140 | 899.98 | 30 + 25 | two box | 18" x 18" x 25" 15" x 15" x 15"
AA 5000 DS UV | A5AS21254141 | 1099.98
Parts
5000 Tar-Trap 5 Pack ( DS & DXS ) | 2-A5FMPS09-5 | 59.98 | 0
5000 Tar-Trap 10 Pack ( DS & DXS ) | 2-A5FMPS09-10 | 119.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 DS Carbon | 3-A5FCW630 | 311.98 | 24
5000 Carbon Wrap (D, DX, DS, DXS ) | A5FMWS02-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
5000 DX Exec/Vocarb
400 CFM ~ 27lbs/ 3.5" - [3 speeds]
AA 5000 DX Exec | A5AS21226110 | 999.98 | 30 + 27 | two box | 18" x 18" x 25" 15" x 15" x 15"
AA 5000 DX Exec UV | A5AS21226111 | 1199.98
AA 5000 DX Vocarb | A5AS21236110 | 1099.98
AA 5000 DX Vocarb UV | A5AS21236111 | 1299.98
Parts
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 DX Exec Carbon | 3-A5FCW335 | 359.98 | 27
5000 DX Vocarb Carbon | 3-A5FCW235 | 435.98 | 27
5000 Carbon Wrap (D, DX, DS, DXS ) | A5FMWS02-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
5000 DX VOG
400 CFM ~ 27lbs/ 3.5" - [3 speeds]
AA 5000 DX VOG | A5AS21216110 | 1199.98 | 30 + 27 | two box | 18" x 18" x 25" 15" x 15" x 15"
AA 5000 DX VOG UV | A5AS21216111 | 1399.98
Parts
5000 Tar-Trap 5 Pack ( DS, DXS, VOG, DX VOG ) | 2-A5FMPS09-5 | 59.98 | 0
5000 Tar-Trap 10 Pack ( DS & DXS ) | 2-A5FMPS09-10 | 119.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 DX VOG Carbon | 3-A5FCW435 | 431.98 | 27
5000 Carbon Wrap (D, DX, DS, DXS ) | A5FMWS02-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
5000 DXS
400 CFM ~ 27lbs/ 3.5" - [3 speeds]
AA 5000 DXS | A5AS21256140 | 999.98 | 30 + 27 | two box | 18" x 18" x 25" 15" x 15" x 15"
AA 5000 DXS UV | A5AS21256141 | 1199.98
Parts
5000 Tar-Trap 5 Pack ( DS & DXS ) | 2-A5FMPS09-5 | 59.98 | 0
5000 Tar-Trap 10 Pack ( DS & DXS ) | 2-A5FMPS09-10 | 119.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 DXS Carbon | 3-A5FCW635 | 359.98 | 27
5000 Carbon Wrap (D, DX, DS, DXS ) | A5FMWS02-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0

## 6000
MODEL |  |  | SHIPPING
Name | SKU | Price | W / lbs | # Of BOXs | Box Dimension
6000 Exec/Vocarb
400 CFM ~ 24lbs/ 2.5" - [3 speeds]
AA 6000 Exec | A6AS21223110 | 799.98 | 58 | 1 box | 18" x 18" x 28"
AA 6000 Exec UV | A6AS21223111 | 999.98
AA 6000 Vocarb | A6AS21233110 | 899.98
AA 6000 Vocarb UV | A6AS21233111 | 1099.98
AA 6000 W Vocarb | A6AW21233110 | 1099.98
AA 6000 W Vocarb UV | A6AW21233111 | 1299.98
Parts
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 HEPA filter | 3-A6FH0411 | 167.98 | 5
6000 Exec Carbon | 3-A6FCW325 | 239.98 | 24
6000 Vocarb Carbon | 3-A6FCW225 | 311.98 | 24
6000 Carbon Wrap (Voc & Exec) | A6FMWS00-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
6000 D Exec/Vocarb
400 CFM ~ 28lbs/ 3" - [3 speeds]
AA 6000 D Exec | A6AS21224110 | 999.98 | 33 + 28 | 2 box | 18" x 18" x 28" 16" x 16" x 16"
AA 6000 D Exec UV | A6AS21224111 | 1299.98
AA 6000 D Vocarb | A6AS21234110 | 1099.98
AA 6000 D Vocarb UV | A6AS21234111 | 1299.98
Parts
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98 | 0
6000 D Exec Carbon | 3-A6FCW330 | 311.98 | 28
6000 D Vocarb Carbon | 3-A6FCW230 | 359.98 | 28
6000 Carbon Wrap (D, DX, DS, DXS ) | A6FMWS02-2 | 131.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
6000 DS
400 CFM ~ 28lbs/ 3" - [3 speeds]
AA 6000 DS | A6AS21254140 | 999.98 | 33 + 28 | 2 box | 18" x 18" x 28" 16" x 16" x 16"
AA 6000 DS UV | A6AS21254141 | 1199.98
Parts
6000 Tar-Trap 5 Pack ( DS & DXS ) | 2-A6FMPS12-5 | 83.98 | 0
6000 Tar-Trap 10 Pack ( DS & DXS ) | 2-A6FMPS12-10 | 155.98 | 0
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98 | 0
6000 DS Carbon | 3-A6FCW630 | 359.98 | 28
6000 Carbon Wrap (D, DX, DS, DXS ) | A6FMWS02-2 | 131.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
6000 DX Exec/Vocarb
400 CFM ~ 36lbs/ 3" - [3 speeds]
AA 6000 DX Exec | A6AS21226110 | 1099.98 | 36 + 33 | 2 box | 18" x 18" x 28" 16" x 16" x 16"
AA 6000 DX Exec UV | A6AS21226111 | 1299.98
AA 6000 DX Vocarb | A6AS21236110 | 1199.98
AA 6000 DX Vocarb UV | A6AS21236111 | 1399.98
Parts
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98 | 0
6000 DX Exec Carbon | 3-A6FCW335 | 395.98 | 36
6000 DX Vocarb Carbon | 3-A6FCW235 | 475.98 | 36
6000 Carbon Wrap (D, DX, DS, DXS ) | A6FMWS02-2 | 131.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
6000 DXS
400 CFM ~ 28lbs/ 3" - [3 speeds]
AA 6000 DXS | A6AS21256140 | 1099.98 | 33 + 28 | 2 box | 18" x 18" x 28" 16" x 16" x 16"
AA 6000 DXS UV | A6AS21256141 | 1299.98
Parts
6000 Tar-Trap 5 Pack ( DS & DXS ) | 2-A6FMPS12-5 | 83.98 | 0
6000 Tar-Trap 10 Pack ( DS & DXS ) | 2-A6FMPS12-10 | 155.98 | 0
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98 | 0
6000 DXS Carbon | 3-A6FCW635 | 395.98 | 28
6000 Carbon Wrap (D, DX, DS, DXS ) | A6FMWS02-2 | 131.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
6000 AH Exec/Vocarb
400 CFM ~ 24lbs/ 2.5" - [3 speeds]
AA 6000 AH Exec | A6AH21223110 | 1099.98 | 58 + 8 + 7 | 3 boxes | 18" x 18" x 28" 16" x 16" x 16" 8" x 8" x 36"
AA 6000 AH Exec UV | A6AH21223111 | 1299.98
AA 6000 AH Vocarb | A6AH21233110 | 1199.98
AA 6000 AH Vocarb UV | A6AH21233111 | 1399.98
Parts
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 HEPA filter | 3-A6FH0411 | 167.98 | 5
6000 Exec Carbon | 3-A6FCW325 | 239.98 | 24
6000 Vocarb Carbon | 3-A6FCW225 | 311.98 | 24
6000 Carbon Wrap (Voc & Exec) | A6FMWS00-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
6000 D AH Exec/Vocarb
400 CFM ~ 28lbs/ 3" - [3 speeds]
AA 6000 D AH Exec | A6AH21224110 | 1299.98 | 33 + 28 + 8 + 7 | 3 boxes | 18" x 18" x 28" 16" x 16" x 16" 16" x 16" x 16" 8" x 8" x 36"
AA 6000 D AH Exec UV | A6AH21224111 | 1499.98
AA 6000 D AH Vocarb | A6AH21234110 | 1399.98
AA 6000 D AH Vocarb UV | A6AH21234111 | 1599.98
Parts
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98 | 0
6000 D Exec Carbon | 3-A6FCW330 | 311.98 | 28
6000 D Vocarb Carbon | 3-A6FCW230 | 359.98 | 28
6000 Carbon Wrap (D, DX, DS, DXS ) | A6FMWS02-2 | 131.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0

## A.M
MODEL |  |  | SHIPPING
Name | SKU | Price | W / lbs | # Of Boxs | Box Dimension
AirMedic Exec/Vocarb/VOG
400 CFM ~ 18lbs/ 2" - [3 speeds] - 360° Air Intake ( No UV Option )
AA AirMedic Exec | N6AS21223110 | 699.98 | 45 | 1 box | 18" x 18" x 22"
AA AirMedic Vocarb | N6AS21232110 | 799.98
AA AirMedic VOG | N6AS21213110 | 849.98
Parts
AirMedic & Plus Pre-Filters 4 Pack - WHT | A5FMW003-4 | 59.98 | 0
AirMedic & Plus Pre-Filters 4 Pack - BLK | N6FMPB02-4 | 71.98 | 0
AirMedic & Plus Pre-Filters 8 Pack - WHT | A5FMW003-8 | 107.98 | 0
AirMedic & Plus Pre-Filters 8 Pack - BLK | N6FMPB02-8 | 119.98 | 0
AirMedic & Plus Pre-Filter 24 pack - WHT | A5FMW003-24 | 299.98 | 0
AirMedic & Plus Pre-Filter 24 pack - BLK | N6FMPB02-24 | 323.98 | 0
AirMedic & Plus HEPA filter | N6FH0411 | 167.98 | 5
AirMedic & Plus Exec Carbon | N6FCW320 | 191.98 | 18
AirMedic & Plus Vocarb Carbon | N6FCW220 | 311.98 | 18
AirMedic & Plus VOG Carbon | N6FCW420 | 431.98 | 18
AirMedic & Plus Carbon Wrap Set | A5FMWS01-2 | 119.98 | 0
AA Gasket ( AirMedic Series) | AM000937-2 | 59.98 | 0
AirMedic MCS
400 CFM ~ 18lbs/ 2" - [3 speeds] - 360° Air Intake ( No UV Option )
AA AirMedic MCS | N6AS21242M30 | 1099.98 | 45 | 1 box | 18" x 18" x 22"
Parts
Carbon Test Kit | A4PK7011 | 71.98 | 5 | 1 | 7" x 7" x 5"
AirMedic & Plus MCS Pre-Filters 4 Pack | N6FCP048-4 | 79.98 | 0
AirMedic & Plus MCS Pre-Filters 8 Pack | N6FCP048-8 | 139.98 | 0
AirMedic & Plus MCS Pre-Filter 24 Pack | N6FCP048-24 | 399.98 | 0
AirMedic & Plus MCS HEPA filter | N6FH1411 | 275.98 | 5
AirMedic & Plus MCS Carbon | N6FCW120 | 359.98 | 18
AirMedic & Plus Carbon Wrap Set | A5FMWS01-2 | 119.98 | 0
AA Gasket ( AirMedic Series) | AM000937-2 | 59.98 | 0
AirMedic D Exec/Vocarb
400 CFM ~ 25lbs/ 3" - [3 speeds] - 360° Air Intake ( No UV Option )
AA AirMedic D Exec | N6AS21224110 | 899.98 | 25 + 27 | 2 box | 18" x 18" x 22" 16" x 16" x 16"
AA AirMedic D Vocarb | N6AS21234110 | 999.98
Parts
AirMedic & Plus Pre-Filters 4 Pack - WHT | A5FMW003-4 | 59.98 | 0
AirMedic & Plus Pre-Filters 4 Pack - BLK | N6FMPB02-4 | 71.98 | 0
AirMedic & Plus Pre-Filters 8 Pack - WHT | A5FMW003-8 | 107.98 | 0
AirMedic & Plus Pre-Filters 8 Pack - BLK | N6FMPB02-8 | 119.98 | 0
AirMedic & Plus Pre-Filter 24 pack - WHT | A5FMW003-24 | 299.98 | 0
AirMedic & Plus Pre-Filter 24 pack - BLK | N6FMPB02-24 | 323.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
AirMedic & Plus D Exec Carbon | N6FCW330 | 311.98 | 25
AirMedic & Plus D Vocarb Carbon | N6FCW230 | 359.98 | 25
AirMedic & Plus Carbon Wrap Set | A5FMWS01-2 | 119.98 | 0
AA Gasket ( AirMedic Series) | AM000937-2 | 59.98 | 0
AirMedic D MCS
400 CFM ~ 25lbs/ 3" - [3 speeds] - 360° Air Intake ( No UV Option )
AA AAirMedic MCS | N6AS21242M30 | 1099.98 | 45 | 1 box | 18" x 18" x 22"
Parts
Carbon Test Kit | A4PK7011 | 71.98 | 5 | 1 | 7" x 7" x 5"
AirMedic & Plus MCS Pre-Filters 4 Pack | N6FCP048-4 | 79.98 | 0
AirMedic & Plus MCS Pre-Filters 8 Pack | N6FCP048-8 | 139.98 | 0
AirMedic & Plus MCS Pre-Filter 24 Pack | N6FCP048-24 | 399.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
AirMedic & Plus D MCS Carbon | N6FCW130 | 479.98 | 25
AirMedic & Plus Carbon Wrap Set | A5FMWS01-2 | 119.98 | 0
AA Gasket ( AirMedic Series) | AM000937-2 | 59.98 | 0

## A.M +
MODEL |  |  | SHIPPING
Name | SKU | Price | W / lbs | # Of Boxs | Box Dimension
AirMedic Plus Exec/Vocarb/VOG
400 CFM ~ 18lbs/ 2" - [Variable speeds] - 360° Air Intake
AA AirMedic + Exec | N6AS22223110 | 899.98 | 45 | 1 box | 18" x 18" x 22"
AA AirMedic + Exec UV | N6AS22223111 | 1099.98
AA AirMedic + Vocarb | N6AS22232110 | 999.98
AA AirMedic + Vocarb UV | N6AS22232111 | 1199.98
AA AirMedic + VOG | N6AS21212110 | 1049.98
AA AirMedic + VOG UV | N6AS21212111 | 1249.98
Parts
AirMedic & Plus Pre-Filters 4 Pack - WHT | A5FMW003-4 | 59.98 | 0
AirMedic & Plus Pre-Filters 4 Pack - BLK | N6FMPB02-4 | 71.98 | 0
AirMedic & Plus Pre-Filters 8 Pack - WHT | A5FMW003-8 | 107.98 | 0
AirMedic & Plus Pre-Filters 8 Pack - BLK | N6FMPB02-8 | 119.98 | 0
AirMedic & Plus Pre-Filter 24 pack - WHT | A5FMW003-24 | 299.98 | 0
AirMedic & Plus Pre-Filter 24 pack - BLK | N6FMPB02-24 | 323.98 | 0
AirMedic & Plus HEPA filter | N6FH0411 | 167.98 | 5
AirMedic & Plus Exec Carbon | N6FCW320 | 191.98 | 18
AirMedic & Plus Vocarb Carbon | N6FCW220 | 311.98 | 18
AirMedic & Plus VOG Carbon | N6FCW420 | 431.98 | 18
AirMedic & Plus Carbon Wrap Set | A5FMWS01-2 | 119.98 | 0
AA Gasket ( AirMedic Series) | AM000937-2 | 59.98 | 0
UV 5W | A3EL9010-5W | 47.98 | 0
AirMedic Plus MCS
400 CFM ~ 18lbs/ 2" - [Variable speeds] - 360° Air Intake
AA AirMedic + MCS | N6AS22241M30 | 1299.98 | 45 | 1 box | 18" x 18" x 22"
Parts
Carbon Test Kit | A4PK7011 | 71.98 | 5 | 1 | 7" x 7" x 5"
AirMedic & Plus MCS Pre-Filters 4 Pack | N6FCP048-4 | 79.98 | 0
AirMedic & Plus MCS Pre-Filters 8 Pack | N6FCP048-8 | 139.98 | 0
AirMedic & Plus MCS Pre-Filter 24 Pack | N6FCP048-24 | 399.98 | 0
AirMedic & Plus MCS HEPA filter | N6FH1411 | 275.98 | 5
AirMedic & Plus MCS Carbon | N6FCW120 | 359.98 | 18
AirMedic & Plus Carbon Wrap Set | A5FMWS01-2 | 119.98 | 0
AA Gasket ( AirMedic Series) | AM000937-2 | 59.98 | 0
UV 5W | A3EL9010-5W | 47.98 | 0
AirMedic D Exec/Vocarb
400 CFM ~ 25lbs/ 3" - [Variable speeds] - 360° Air Intake
AA AirMedic + D Exec | N6AS22224110 | 1099.98 | 25 + 27 | 2 box | 18" x 18" x 22" 16" x 16" x 16"
AA AirMedic + D Exec UV | N6AS22224111 | 1299.98
AA AirMedic + D Vocarb | N6AS22234110 | 1299.98
AA AirMedic + D Vocarb UV | N6AS22234111 | 1499.98
Parts
AirMedic & Plus Pre-Filters 4 Pack - WHT | A5FMW003-4 | 59.98 | 0
AirMedic & Plus Pre-Filters 4 Pack - BLK | N6FMPB02-4 | 71.98 | 0
AirMedic & Plus Pre-Filters 8 Pack - WHT | A5FMW003-8 | 107.98 | 0
AirMedic & Plus Pre-Filters 8 Pack - BLK | N6FMPB02-8 | 119.98 | 0
AirMedic & Plus Pre-Filter 24 pack - WHT | A5FMW003-24 | 299.98 | 0
AirMedic & Plus Pre-Filter 24 pack - BLK | N6FMPB02-24 | 323.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
AirMedic & Plus D Exec Carbon | N6FCW330 | 311.98 | 25
AirMedic & Plus D Vocarb Carbon | N6FCW230 | 359.98 | 25
AirMedic & Plus Carbon Wrap Set | A5FMWS01-2 | 119.98 | 0
AA Gasket ( AirMedic Series) | AM000937-2 | 59.98 | 0
UV 5W | A3EL9010-5W | 47.98 | 0
AirMedic D MCS
400 CFM ~ 25lbs/ 3" - [Variable speeds] - 360° Air Intake
AA AirMedic+ D MCS | N6AS22244M30 | 1499.98 | 45 | 1 box | 18" x 18" x 22"
Parts
Carbon Test Kit | A4PK7011 | 71.98 | 5 | 1 | 7" x 7" x 5"
AirMedic & Plus MCS Pre-Filters 4 Pack | N6FCP048-4 | 79.98 | 0
AirMedic & Plus MCS Pre-Filters 8 Pack | N6FCP048-8 | 139.98 | 0
AirMedic & Plus MCS Pre-Filter 24 Pack | N6FCP048-24 | 399.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
AirMedic & Plus D MCS Carbon | N6FCW130 | 479.98 | 25
AirMedic & Plus Carbon Wrap Set | A5FMWS01-2 | 119.98 | 0
AA Gasket ( AirMedic Series) | AM000937-2 | 59.98 | 0
UV 5W | A3EL9010-5W | 47.98 | 0

## A_Other
MODEL |  |  | SHIPPING
Name | SKU | Price | W / lbs | # Of Boxs | Box Dimension
Salon 5000
400 CFM ~ 18lbs/ 2.5" - [3 speeds] (3" flexible source capture hose)
AA Salon 5000 Vocarb | A5AW31233110 | 1329.98 | 50 + 5 | 2 box | 18" x 18" x 25" 18" x 18" x 25"
AA Salon 5000 Vocarb UV | A5AW31233111 | 1529.98
Parts
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 HEPA Filter | 3-A5FH0411 | 119.98 | 5
5000 Vocarb Carbon | 3-A5FCW225 | 239.98 | 18
5000 Carbon Wrap (Voc, Exec, VOG, MCS) | A5FMWS00-2 | 107.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
Salon 6000
400 CFM ~ 24lbs/ 2.5" - [3 speeds]
AA Salon 6000 Vocarb | A6AW31233110 | 1429.98 | 58 | 1 box | 18" x 18" x 28" 16" x 16" x 16"
AA Salon 6000 Vocarb UV | A6AW31233111 | 1629.98
Parts
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 HEPA filter | 3-A6FH0411 | 167.98 | 5
6000 Exec Carbon | 3-A6FCW325 | 239.98 | 24
6000 Vocarb Carbon | 3-A6FCW225 | 311.98 | 24
6000 Carbon Wrap (Voc & Exec) | A6FMWS00-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
TubO ( Oder Buster)
Minimum purchase of 1 case ( 24 Pack)
AA Tub O Carbon 24 | TC500 | 15.98 | 0
AA Tub O Carbon 24 | TC500-24 | 383.52 | 10 | 1 | 16" x 12" x 4"
Mold Away
For Mold
Mold Away etc (GnPk) 22 oz | A1COM001 | 15.98
Mold Away GAL (GnPk) | A1COM002 | 59.98
Bulk Carbon
Carbon Blened ( Small quantity orders: 1–22 lbs. = $50 surcharge / 23–44 lbs. = $20 surcharge)
bulk Exec | 4-AM000911 | 5.98
bulk Vocarb | 4-AM000912 | 7.98
bulk Double Vocarb lb |  | 7.98
bulk coconut | 4-AM000901 | 5.98

## RAP
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
RAP 12
350 CFM ~ 23lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RAP 12 CC | R1AS012CC | 1679.98
EL RAP 12 CC UV | R1ASA12CC-UV | 2039.98
EL RAP 12 H | R1ASA12H | 1919.98
EL RAP 12 H UV | R1ASA12H-UV | 2159.98
12CC
RAP 12 Carbon Filter | R1FC1512 | 260.38
RAP 12 Pre-Filter 6 pack | R1FMP1235-6 | 166.2
UV
12H
RAP 12 HEPA Filter | R1FH0411 | 327.6
RAP 12 Pre-Filter 6 pack | R1FMP1235-6 | 166.2
UV
RAP 204
350 CFM ~ 30lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RAP 204 H | R4AS0204H | 1919.98
EL RAP 204 H UV | R4AS0204H-UV | 2399.97
EL RAP 204 CC | R4AS21222110 | 2039.98
EL RAP 204 CC UV | R4AS204CC-UV | 2519.97
204H
RAP 204 HEPA Filter | R2FH0411 | 595.08
RAP 204 Micro-HEPA Filter | R4FMR2435-3 | 111.89
RAP 204 Pre-Filter 6- pack | R4FMP024-6 | 166.2
204CC
RAP 204 Carbon Filter | R4FC1524 | 453.55
RAP 204 Micro-HEPA Filter | R4FMR2435-3 | 111.89
RAP 204 Pre-Filter 6- pack | R4FMP024-6 | 166.2
RAP 24
250-900 CFM ~ 60lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RAP 24 H | R6AS024H | 5519.98
EL RAP 24 CC | R6AS24CC | 5519.98
EL RAP 24 CCH | R6AS24CCH | 6119.98
24H
RAP 24 HEPA filter | R2FH1411 | 595.08
RAP 24 Micro-HEPA Filter | R2FMR1258-6 | 159.58
RAP 24 Pre-Filter 6 pack | R2FMPF2468-6 | 207.9
24CC
RAP 24 Carbon Filter | R2FC0512 | 568.75
RAP 24 Micro-HEPA Filter | R2FMR1258 - 6 | 159.58
RAP 24 Pre-Filter 6 pack | R2FMPF2468-6 | 207.9
24CCH
RAP 24 Carbon Filter | R2FC0512 | 568.75
RAP 24 HEPA filter | R2FH1411 | 595.08
RAP 24 Micro-HEPA Filter | R2FMR1258 - 6 | 159.58
RAP 24 Pre-Filter | R2FMPF2468-6 | 207.9
RAP 48
250-1800 CFM ~ 120lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RAP 48 H | R7AS048H | 7919.98
EL RAP 48 CC | R7AS048CC | 8039.98
EL RAP 48 CCH | R7AS048CCH | 8279.98
EL RAP 48 CCHD ORBO ( plenum is optinal) | R7AS048CCHD | 8399.98
48H
RAP 48 HEPA Filter (2 required) | R2FH1411 | 595.08
RAP 48 Micro-HEPA Filter | R2FMR2458 - 6 | 334.18
RAP 48 Pre-Filter 6 pack | R2FMPF2468-12 | 415.8
48CC
RAP 48 Carbon Filter (4 required) | R2FC0512 | 568.75
RAP 48 Micro-HEPA Filter | R2FMR1258 - 12 | 313.08
RAP 48 Pre-Filter 6 pack | R2FMPF2468-12 | 415.8
48CCH / 48CCHD
RAP 48 Plenum ( wall moount for ductwork) | R7AS0003 | 389.98
RAP 48 Carbon Filter (4 required) | R2FC0512 | 568.75
RAP 48 HEPA Filter (2 required) | R2FH1411 | 595.08
RAP 48 Pre-Filter 6 pack | R2FMPF2468-12 | 415.8

## RSU
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
RSU 12
350 CFM ~ 23lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RSU 12 CC | R1AS112CC | 2039.98
EL RSU 12 CCH | R1AS112CCH | 2399.98
EL RSU 12 CCHR | R1ASR012CCH | 2759.98
EL RSU 12 CCR | R1ASR012CC | 2399.98
12CC
RSU 12 Carbon Filter | R1FC0512 | 260.38
RSU 12 Micro-HEPA Filter | R1FMR1153-3 | 87.54
RSU 12 Pre-Filter 6 pack | R1FMPF12-6 | 124.57
12CCH
RSU 12 Carbon Filter | R1FC0512 | 260.38
RSU 12 HEPA Filter | R1FH0411 | 327.6
RSU 12 Pre-Filter 6 pack | R1FMPF12-6 | 124.57
12CCHR
RSU 12 Carbon Filter | R1FC0512 | 260.38
RSU 12 HEPA Filter | R1FH0411 | 327.6
RSU 12 Pre-Filter 6 pack | R1FMPF12-6 | 124.57
RSU 12 CCHR Insert Assembly Kit [Comes with Isert A,B] | R1FMPW12 | 139.44
RSU 12 CCHR Insert 30 Ppi [Insert A] | R1FMP1120-6 | 41.86
RSU 12 CCHR Insert 0.3 Micron [Insert B] | R1FMR1120-6 | 28.74
RSU 12 Duct Kit Number (4'') [Optional] | R2ASDK0046 | 258.65
RSU 12 Duct Kit Number (6'') [Optional] | R1ASDK0066 | 171.76
12CCR
RSU 12 Carbon Filter | R1FC0512 | 260.38
RSU 12 Micro-HEPA Filter | R1FMR1153-3 | 87.54
RSU 12 Pre-Filter 6 pack | R1FMPF12-6 | 124.57
RSU 12 CCR Insert Assembly Kit [Comes with Isert A,B] | R1FMPW1237 | 278.66
RSU 12 CCR Insert 30 Ppi [Insert A] | R1FMP1237-6 | 117.84
RSU 12 CCR Insert 0.3 Micron [Insert B] | R1FMR1237-6 | 91.96
RSU 12 Duct Kit Number (4'') [Optional] | R2ASDK0046 | 258.65
RSU 12 Duct Kit Number (6'') [Optional] | R1ASDK0066 | 171.76
RSU 12x24
300 CFM ~ 50lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RSU 12X24 CC | R1AS024CC | 3359.98
EL RSU 12X24 CCH | R1AS024CCH | 4079.98
EL RSU 12X24 CCHR | R1ASR024CCH | 4439.98
EL RSU 12X24 CCR | R1ASR024CC | 4079.98
12X24CC
RSU 12x24 Carbon Filter | R1FC0524 | 520.42
RSU 12x24 Micro-HEPA Filter | R1FMR2453-3 | 138.9
RSU 12x24 Pre-Filter 6 pack | R1FMPF1224-6 | 124.57
12X24CCH
RSU 12x24 Carbon Filter | R1FC0524 | 520.42
RSU 12x24 HEPA Filter | - | -
RSU 12x24 Pre-Filter 6 pack | R1FMPF1224-6 | 124.57
12X24CCHR
RSU 12x24 Carbon Filter | R1FC0524 | 520.42
RSU 12x24 HEPA Filter | - | -
RSU 12x24 Pre-Filter 6 pack | R1FMPF1224-6 | 124.57
RSU 12x24 CCHR Insert Assembly Kit [Comes with Isert A,B] | - | -
RSU 12x24 CCHR Insert 30 Ppi [Insert A] | - | -
RSU 12x24 CCHR Insert 0.3 Micron [Insert B] | - | -
12X24CCR
RSU 12x24 Carbon Filter | R1FC0524 | 520.42
RSU 12x24 Micro-HEPA Filter | R1FMR2453-3 | 138.9
RSU 12x24 Pre-Filter 6 pack | R1FMPF1224-6 | 124.57
RSU 12x24 CCHR Insert Assembly Kit [Comes with Isert A,B] | R1FMPW2437 | 339.74
RSU 12x24 CCHR Insert 30 Ppi [Insert A] | R1FMP2437-6 | 154.87
RSU 12x24 CCHR Insert 0.3 Micron [Insert B] | R1FMR2437-6 | 116
RSU 20
200-450 CFM ~ 30lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RSU 20 CC | R2AS020CC0 | 2759.98
EL RSU 20 CCH | R3AS020CCH | 3479.98
EL RSU 20 CCHR | R3ASR020CCH | 3599.98
EL RSU 20 CCR | R3ASR020CC | 3239.98
20CC
RSU 20 Carbon Filter | R3FC0520 | 433.78
RSU 20 Micro-HEPA Filter | R3FMR2053-3 | 129.94
RSU 20 Pre-Filter 6 pack | R3FMPF2056-6 | 186.76
20CCH
RSU 20 Carbon Filter | R3FC0520 | 433.78
RSU 20 HEPA Filter | R3FH0411 | 571.08
RSU 20 Pre-Filter 6 pack | R3FMPF2056-6 | 186.76
20CCHR
RSU 20 Carbon Filter | R3FC0520 | 433.78
RSU 20 HEPA Filter | R3FH0411 | 571.08
RSU 20 Pre-Filter 6 pack | R3FMPF2056-6 | 186.76
RSU 20 CCHR Insert Assembly Kit [Comes with Isert A,B] | R3FMPW20 | 190.87
RSU 20 CCHR Insert 30 Ppi [Insert A] | R3FMP2020-6 | 69.76
RSU 20 CCHR Insert 0.3 Micron [Insert B] | R3FMR2020-6 | 52.25
RSU 20 Duct Kit Number (4'') [Optional] | R2ASDK0048 | 283.08
RSU 20 Duct Kit Number (6'') [Optional] | R1ASDK0068 | 296.23
20CCR
RSU 20 Carbon Filter | R3FC0520 | 433.78
RSU 20 Micro-HEPA Filter | R3FMR2053-3 | 129.94
RSU 20 Pre-Filter 6 pack | R3FMPF2056-6 | 186.76
RSU 20 CCHR Insert Assembly Kit [Comes with Isert A,B] | R3FMPW2037 | 297.22
RSU 20 CCHR Insert 30 Ppi [Insert A] | R3FMP2037-6 | 129.06
RSU 20 CCHR Insert 0.3 Micron [Insert B] | R3FMR2037-6 | 99.29
RSU 20 Duct Kit Number (4'') [Optional] | R2ASDK0048 | 283.08
RSU 20 Duct Kit Number (6'') [Optional] | R1ASDK0068 | 296.23
RSU 24
250-900 CFM ~ 60lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RSU 24 H | R2AS024H | 5159.98
EL RSU 24 CC | R2AS024CC | 4619.98
EL RSU 24 CCH | R2AS024CCH | 5159.98
EL RSU 24 CCHR | R2ASR024CCH | 5519.98
EL RSU 24 CCR | R2ASR024CC | 4799.98
24H
RSU 24/48 HEPA Filter | R2FH1411 | 927.98
RSU 24 Micro-HEPA Filter | R2FMR1258-6 | 159.58
RSU 24 Pre-Filter 6 pack | R2FMPF2562-6 | 207.9
24CC
RSU 24 Carbon Filter [2 required] | R2FC0512 | 568.75
RSU 24 Micro-HEPA Filter | R2FMR1258-6 | 159.58
RSU 24 Pre-Filter 6 pack | R2FMPF2562-6 | 207.9
24CCH
RSU 24 Carbon Filter [2 required] | R2FC0512 | 568.75
RSU 24/48 HEPA Filter | R2FH1411 | 927.98
RSU 24 Pre-Filter 6 pack | R2FMPF2562-6 | 207.9
24CCHR
RSU 24 Carbon Filter [2 required] | R2FC0512 | 568.75
RSU 24/48 HEPA Filter | R2FH1411 | 927.98
RSU 24 Pre-Filter 6 pack | R2FMPF2562-6 | 207.9
RSU 24 CCHR Insert Assembly Kit [Comes with Isert A,B] | - | -
RSU 24 CCHR Insert 30 Ppi [Insert A] | - | -
RSU 24 CCHR Insert 0.3 Micron [Insert B] | - | -
24CCR
RSU 24 Carbon Filter [2 required] | R2FC0512 | 568.75
RSU 24 Micro-HEPA Filter | R2FMR1258-6 | 159.58
RSU 24 Pre-Filter 6 pack | R2FMPF2562-6 | 207.9
RSU 24 CCHR Insert Assembly Kit [Comes with Isert A,B] | R2FMPW2437 | 341.2
RSU 24 CCHR Insert 30 Ppi [Insert A] | R2FMP2437-6 | 154.87
RSU 24 CCHR Insert 0.3 Micron [Insert B] | R2FMR2437-6 | 116
RSU 48
500-1800 CFM ~ 120lbs/ 2.5" [Variable speeds] - 360° Air Intake
EL RSU 48 H | R2AS048H | 7198.78
EL RSU 48 CC | R2AS048CC | 7198.78
EL RSU 48 CCH | R2AS048CCH | 7967.98
EL RSU 48 CCHR | R2ASR048CCH | 8199.98
EL RSU 48 CCR | R2ASR048CC | 7439.98
48H
RSU 24/48 HEPA Filter [2 required] | R2FH1411 | 927.98
RSU 48 Micro-HEPA Filter | R2FMR1258-12 | 313.08
RSU 48 Pre-Filter 12 pack | R2FMPF2562-12 | 415.8
48CC
RSU 48 Carbon Filter [4 required] | R2FC0512 | 568.75
RSU 48 Micro-HEPA Filter | R2FMR1258-12 | 313.08
RSU 48 Pre-Filter 12 pack | R2FMPF2562-12 | 415.8
48CCH
RSU 48 Carbon Filter [4 required] | R2FC0512 | 568.75
RSU 24/48 HEPA Filter [2 required] | R2FH1411 | 927.98
RSU 48 Pre-Filter 12 pack | R2FMPF2562-12 | 415.8
48CCHR
RSU 48 Carbon Filter [4 required] | R2FC0512 | 568.75
RSU 24/48 HEPA Filter [2 required] | R2FH1411 | 927.98
RSU 48 Pre-Filter 12 pack | R2FMPF2562-12 | 415.8
RSU 48 CCHR Insert Assembly Kit [2 required] [Comes with Isert A,B] | - | -
RSU 48 CCHR Insert 30 Ppi [Insert A] | - | -
RSU 48 CCHR Insert 0.3 Micron [Insert B] | - | -
48CCR
RSU 48 Carbon Filter [4 required] | R2FC0512 | 568.75
RSU 48 Micro-HEPA Filter | R2FMR1258-12 | 313.08
RSU 48 Pre-Filter 12 pack | R2FMPF2562-12 | 415.8
RSU 48 CCHR Insert Assembly Kit [2 required] [Comes with Isert A,B] | R2FMPW2437 | 341.2
RSU 48 CCHR Insert 30 Ppi [2 required][Insert A] | R2FMP2437-6 | 154.87
RSU 48 CCHR Insert 0.3 Micron [2 required][Insert B] | R2FMR2437-6 | 116

## Air Rhino
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
AirRhino Series [Horizontal]
1000 CFM [Variable speeds] - Wheels or Chain Kit / 12" inlet flange
EL AR 2000 VS HEPA | AWAS7103C560 | 2159.98
EL AR 2000 VS HEPA 220 VOLT | AWAS7103C562 | 2039.98
EL AR 2000 VS Carbon | AWAS7103F760 | 3359.98
EL AR 2000 VS Bag | AWAS2000BF | 2759.98
EL AR 4000 VS HEPA [Biger motor] | AWAS8123C560 | 2759.98
Options
Chain Kit | A4AS1200 | 71.98
Flange Assembly 12" | AWAS0030 | 179.98
AirRhino 2000 VS HEPA 12"
AR Carbon Filter 2” | AWFC0314 | 239.98
AR HEPA Filter Wood Frame 12" | AWFH0411 | 239.98
AR Pre-Filter 8 Pack | AWFP2424 | 119.98
AR Wire Frame Pre-Filter 8 Pack | AWFD2424-8 | 143.98
AR Bakery Flour Dust Pre-Filter | AWDD2424 | 95.98
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98
AirRhino 2000 VS Carbon ~ 100lbs/ 12"
AR Exec Carbon Filter 12” | AWFC0311 | 999.98
AR Vocarb Carbon Filter 12” | AWFC0312 | 1199.98
AR Pre-Filter 8 Pack | AWFP2424 | 119.98
AR Wire Frame Pre-Filter 8 Pack | AWFD2424-8 | 143.98
AR Bakery Flour Dust Pre-Filter | AWDD2424 | 95.98
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98
AirRhino 2000 VS BAG
AR Wire Frame Pre-Filter 8 Pack | AWFD2424-8 | 143.98
AR Bag 80% Filter | AWFH0415 | 95.98
AR Bag 60% Filter | AWFH0420 | 83.98
AirRhino Series [Vertical] 24 x 24
1000 CFM ~ 100lbs/ 12" [Variable speeds] - Wheels or Chain Kit / 12" inlet flange
EL AR Upright HEPA | - | -
EL AR Upright Carbon | AWAS2424VSC | 2599.98
EL AR Upright Bag | AWAS2424VSB | 2999.98
AirRhino Upright HEPA 12"
AR Carbon Filter 2” | AWFC0314 | 239.98
AR HEPA Filter Wood Frame 12" | AWFH0411 | 239.98
AR Pre-Filter 8 Pack | AWFP2424 | 119.98
AR Wire Frame Pre-Filter 8 Pack | AWFD2424-8 | 143.98
AR Bakery Flour Dust Pre-Filter | AWDD2424 | 95.98
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98
AirRhino Upright Carbon ~ 100lbs/ 12"
AR Exec Carbon Filter 12” | AWFC0311 | 999.98
AR Vocarb Carbon Filter 12” | AWFC0312 | 1199.98
AR Pre-Filter 8 Pack | AWFP2424 | 119.98
AR Wire Frame Pre-Filter (8 PACK) | AWFD2424-8 | 143.98
AR Bakery Flour Dust Pre-Filter | AWDD2424 | 95.98
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98
AirRhino Upright Bag
AR Wire Frame Pre-Filter (8 PACK) | AWFD2424-8 | 143.98
AR Bag 80% Filter | AWFH0415 | 95.98
AR Bag 60% Filter | AWFH0420 | 83.98
AirRhino Series [Vertical] 18 x 24
1000 CFM ~ 100lbs/ 12" [Variable speeds] - Wheels or Chain Kit / 12" inlet flange
EL AR Upright 18x24 HEPA | AWAS1824HVSP | 2399.98
EL AR Upright 18x24 Carbon | AWAS1824C1VS | 3599.98
AirRhino Upright 18x24 HEPA 12"
- | - | -
- | - | -
- | - | -
- | - | -
- | - | -
- | - | -
- | - | -
AirRhino Upright 18x24 Carbon ~ 100lbs/ 12"
- | - | -
- | - | -
- | - | -
- | - | -
- | - | -
- | - | -

## Air Marshal
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
Air Marshal
250 CFM [Variable speeds]
EL Air Marshal 1000 | A6ASR1200310 | 1559.98
EL Air Marshal 2000 | A6ASR1223110 | 1679.98
EL Air Marshal 3000 | A6ASR1224110 | 1799.98
EL Air Marshal 4000 | A6ASR1226110 | 1919.98
Hose Options
Air Marshal yellow Vinyl Hose 15’ with Cuff | CMHD8735 | 491.98
Air Marshal yellow Vinyl Hose 25’ with Cuff | CMHD8736 | 671.97
Air Marshal yellow Vinyl Hose 25’ with Cuff & Bag | CMHD8737 | 731.98
Air Marshal mylar 25’ Hose | 65HD8614 | 143.98
Air Marshal 1000 HEPA only
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
Air Marshal 1000 HEPA filter | A6FH0430 |  | 5
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
Air Marshal 2000 ~ 24 lbs
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 HEPA filter | 3-A6FH0411 | 167.98 | 5
6000 Exec Carbon | 3-A6FCW325 | 239.98 | 24
6000 Vocarb Carbon | 3-A6FCW225 | 311.98 | 24
6000 Carbon Wrap (Voc & Exec) | A6FMWS00-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
Air Marshal 3000 ~ 28 lbs
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98 | 0
6000 D Exec Carbon | 3-A6FCW330 | 311.98 | 28
6000 D Vocarb Carbon | 3-A6FCW230 | 359.98 | 28
6000 Carbon Wrap (D, DX, DS, DXS ) | A6FMWS02-2 | 131.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
Air Marshal 4000 ~ 36 lbs
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98 | 0
6000 DX Exec Carbon | 3-A6FCW335 | 395.98 | 36
6000 DX Vocarb Carbon | 3-A6FCW235 | 475.98 | 36
6000 Carbon Wrap (D, DX, DS, DXS ) | A6FMWS02-2 | 131.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0

## i6500
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
I-6500 A
750-1000 CFM ~ 160lbs or 80lbs with Hepa filter
EL i6500 A 80 | AIAS7123B510 | 8039.976
EL i6500 A 160 | AIAS7123G710 | 8639.976
EL I-6500 AH 80 [comes with ducting] | - | -
EL I-6500 AH 160 [come with duscting] | - | -
EL I-6500 XL 80 | AIAS6500XL | 8295.98
EL I-6500 XL 160 | - | -
EL I-6500 XL w / 6” Cyclone Kit | AIAS6500L6 | 9599.98
EL I-6500 XL w / 12” Cyclone Kit | AIAS6500L12 | 10599.98
EL I-6500 XLD | AIAS6510XL | 8295.98
EL I-6500 A 160 Exp. Proof | AIAS1100CCEP | 13060.98
I-6500 A 160
i6500 Exec Carbon (12") [2 required] | 65FC0311 | 719.98
i6500 Vocarb Carbon (12") [2 required] | 65FC0312 | 959.98
i6500 Pre-filter 4 pack (2") | 65FH0413-4 | 95.98
i6500 Pre-filter 8 pack (2") | 65FH0413-8 | 179.98
i6500 tar-Trap 6 pack ( 2") [Smoke option pre-filter] | 65FH0417-6 | -
i6500 tar-Trap 12 pack ( 2") [Smoke option pre-filter] | 65FH0417-12 | -
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98
I-6500 A 80
i6500 Exec Carbon | 65FC0311 | 719.98
i6500 Vocarb Carbon | 65FC0312 | 959.98
i6500 HEPA Wood 12" | 65FH0411 | 359.98
i6500 HEPA Metal 12" | 65FH0410 | 359.98
i6500 Pre-filter 4 pack (2") | 65FH0413-4 | 95.98
i6500 Pre-filter 8 pack (2") | 65FH0413-8 | 179.98
i6500 tar-Trap 6 pack ( 2") [Smoke option pre-filter] | 65FH0417-6 | -
i6500 tar-Trap 12 pack ( 2") [Smoke option pre-filter] | 65FH0417-12 | -
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98
I-6500 B
750-1000 CFM ~ 80lbs
EL I-6500 B 80 | AIBS7123B010 | 5699.98
EL I-6500 B HEPA | AIBS71200510 | 5199.98
I-6500 B 80
i6500 Exec Carbon | 65FC0311 | 719.98
i6500 Vocarb Carbon | 65FC0312 | 959.98
i6500 B Hepa Filter ( 95%) | 65FH0415 | 191.98
i6500 Pre-filter 4 pack (2") | 65FH0413-4 | 95.98
i6500 Pre-filter 8 pack (2") | 65FH0413-8 | 179.98
i6500 tar-Trap 6 pack ( 2") [Smoke option pre-filter] | 65FH0417-6 | -
i6500 tar-Trap 12 pack ( 2") [Smoke option pre-filter] | 65FH0417-12 | -
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98
I-6500 B Hepa only
i6500 HEPA Wood 12" | 65FH0411 | 359.98
i6500 HEPA Metal 12" | 65FH0410 | 359.98
i6500 Pre-filter 4 pack (2") | 65FH0413-4 | 95.98
i6500 Pre-filter 8 pack (2") | 65FH0413-8 | 179.98
i6500 tar-Trap 6 pack ( 2") [Smoke option pre-filter] | 65FH0417-6 | -
i6500 tar-Trap 12 pack ( 2") [Smoke option pre-filter] | 65FH0417-12 | -
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98
I-6500 Gel/HO
750-1000 CFM ~ HEPA only
EL I-6500 Gel/HO | AIAS71200510 | 5699.98
I-6500 B 80
i6500 Gel Hepa Filter Metal | 65FH0416 | 719.98
i6500 Gel Hepa Filter Wood | 65FH1416 | 839.98
i6500 Pre-filter 4 pack (2") | 65FH0413-4 | 95.98
i6500 Pre-filter 8 pack (2") | 65FH0413-8 | 179.98
i6500 tar-Trap 6 pack ( 2") [Smoke option pre-filter] | 65FH0417-6 | -
i6500 tar-Trap 12 pack ( 2") [Smoke option pre-filter] | 65FH0417-12 | -
UV 10 watts | A6EL9013-10W | 119.98
UV 20 watts | A6EL9016 | 215.98

## Fume Extractor
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
FUME Extractors
Source capture/ welding
EL Fume Extractor LD 450 | A9AS00019175 | 3499.98
EL Fume Extractor MB 750 | AIAS0750W | 5999.98
EL Fume Extractor HD 950 | AIAS0950W | 7999.98
LD 450 ~ 40 CFM 250
LD450 Exec | CMFC2311 | 479.98
LD450 Vocarb | CMFC2312 | 599.98
LD450 HEPA | CMFH0411 | 167.98
LD450 Prefilter 6 pack | CMFH1412-6 | 135.98
LD450 Prefilter 12 pack | CMFH1412-12 | 263.98
LD450 Tar-Trap filter 6 pack | CMFH0417-6 | -
LD450 Tar-Trap filter 12 pack | CMFH0417-12 | -
LD450 Spark Arrestor | CMFC1416 | 306.98
4" Flex Arm | CMHD8732 | 1079.98
6" Aluminum Hose | CMHD8704 | 155.98
MD 750~ 80 CFM 950
i6500 Exec Carbon | 65FC0311 | 719.98
i6500 Vocarb Carbon | 65FC0312 | 959.98
MD750 Hepa Filter (6" ) | 65FH0412 | -
i6500 Pre-filter 4 pack (2") | 65FH0413-4 | 95.98
i6500 Pre-filter 8 pack (2") | 65FH0413-8 | 179.98
i6500 tar-Trap 6 pack ( 2") [Smoke option pre-filter] | 65FH0417-6 | -
i6500 tar-Trap 12 pack ( 2") [Smoke option pre-filter] | 65FH0417-12 | -
MD750/950 Spark Arrestor | 65FP1416 | -
MD 950~ 80 CFM 950
i6500 Exec Carbon | 65FC0311 | 719.98
i6500 Vocarb Carbon | 65FC0312 | 959.98
i6500 HEPA Wood 12" | 65FH0411 | 359.98
i6500 HEPA Metal 12" | 65FH0410 | 359.98
i6500 Pre-filter 4 pack (2") | 65FH0413-4 | 95.98
i6500 Pre-filter 8 pack (2") | 65FH0413-8 | 179.98
i6500 tar-Trap 6 pack ( 2") [Smoke option pre-filter] | 65FH0417-6 | -
i6500 tar-Trap 12 pack ( 2") [Smoke option pre-filter] | 65FH0417-12 | -
MD750/950 Spark Arrestor | 65FP1416 | -

## 8000
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
8000 Series
400 CFM
EL 8000 Exec | A8AS21223110 | 999.98
EL 8000 Exec UV | A8AS21223111 | 1199.98
EL 8000 Vocarb | A8AS21233110 | 1199.98
EL 8000 Vocarb UV | A8AS21233111 | 1399.98
EL 8000 D Exec | A8AS21224110 | 1299.98
EL 8000 D Vocarb | A8AS21234110 | 1399.98
El 8000 DX Exec | A8AS21226110 | 1499.98
EL 8000 DX Vocarb | A8AS21236110 | 1599.98
EL 8000 DX Vocarb UV | A8AS21236111 | 1799.98
EL 8000 AH Exec | A8AH21223110 | 1399.98
EL 8000 AH Vocarb | A8AH21233110 | 1499.98
EL 8000 AH Vocarb UV | A8AH21233111 | 1699.98
EL 8000 D AH Exec | A8AH21224110 | 1699.98
EL 8000 D AH Vocarb | A8AH21234110 | 1899.98
EL 8000 DX AH Vocarb | A8AH21236110 | 1999.98
8000 DX AH Vocarb with Tar trapping filter | A8AH21236110T | 2099.98
EL 8000 W DX Vocarb | A8AW21236110 | 1750
8000 Exec/Vocarb & 8000 AH Exec/Vocarb ~ 32lbs/2.5"
8000 Pre-Filters 4 Pack | 2-A8FMP008-4 | 71.98
8000 Pre-Filters 8 Pack | 2-A8FMP008-8 | 119.98
8000 HEPA filter | 3-A8FH0411 | 239.98
8000 Exec Carbon | 3-A8FCW325 | 359.98
8000 Vocarb Carbon | 3-A8FCW225 | 359.98
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98
UV 10W | A6EL9013-10W | 119.98
8000 D Exec/Vocarb & 8000 D AH Exec/Vocarb ~ 32lbs/2.5"
8000 Pre-Filters 4 Pack | 2-A8FMP008-4 | 71.98
8000 Pre-Filters 8 Pack | 2-A8FMP008-8 | 119.98
8000 Mirco-HEPA (D, DX ) | A8FMR002 | 119.98
8000 D Exec Carbon | A8FCW330 | 479.98
8000 D Vocarb Carbon | A8FCW230 | 515.98
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98
UV 10W | A6EL9013-10W | 119.98
8000 DX Exec/Vocarb & 8000 W DX Exec/Vocarb ~ 32lbs/2.5"
8000 Pre-Filters 4 Pack | 2-A8FMP008-4 | 71.98
8000 Pre-Filters 8 Pack | 2-A8FMP008-8 | 119.98
8000 Mirco-HEPA (D, DX ) | A8FMR002 | 119.98
8000 DX Exec Carbon | 3-A8FCW235 | -
8000 DX Vocarb Carbon | 3-A8FCW335 | 515.98
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98
UV 10W | A6EL9013-10W | 119.98

## 9000
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
9000
EL 9450 Ceiling Mount | A9AH00009450 | 1299.98
EL 9475 Ceiling Mount | A9AH00009475 | 1399.98
EL 9575 Restorator | A9AS00009575 | 1399.98
EL 9675 Medical | A9AS00009675 | 1600
EL 9975 Smoke 30 lbs. | A9AS00009975 | 1798.98
EL 9975 Smoke 60 lbs. | - | 1999.98
EL 9475 Monomer | A9AS000M9475 | 1799.98
9450 / 9475 Ceiling Mount & 9575 Restorator
9000 Exec filter | CMFC0311 | 239.98
9000 Vocarb filter | CMFC0312 | 311.98
9000 HEPA Filter 2" - 99.97% | CMFH1411 | 215.98
9000 HEPA Filter 2" - 95% | CMFH0411 | 167.98
9000 Prefilter 6 pack | CMFH0412-6 | 107.98
9000 Prefilter 12 pack | CMFH0412-12 | 217.98
9000 tar-trap 6 pack | CMFH0416-6 | 115.98
9000 tar-trap 12 pack | CMFH0416-12 | 233.98
UV 10W | A6EL9013-10W | 119.98
UV 20W | A6EL9016 | 215.99
9675 Medical
9000 Medical hepa 4" | CMFH0410 | 2800
9000 Prefilter 6 pack | CMFH0412-6 | 107.98
9000 Prefilter 12 pack | CMFH0412-12 | 217.98
9000 tar-trap 6 pack | CMFH0416-6 | 115.98
9000 tar-trap 12 pack | CMFH0416-12 | 233.98
9975 Smoke 30 lbs.
9000 tar-trap 6 pack | CMFH0416-6 | 115.98
9000 tar-trap 12 pack | CMFH0416-12 | 233.98
9000 HEPA Filter 2" - 95% | CMFH0411 | 167.98
9000 Exec filter | CMFC0311 | 239.98
9000 Vocarb filter | CMFC0312 | 311.98
9975 Smoke 60 lbs.
9000 tar-trap 6 pack | CMFH0416-6 | 115.98
9000 tar-trap 12 pack | CMFH0416-12 | 233.98
9000 HEPA Filter 2" - 95% | CMFH0411 | 167.98
9000 Exec filter [2 required] | CMFC0311 | 239.98
9000 Vocarb filter [2 required] | CMFC0312 | 311.98
9475 Monomer
Monomer Wall Mount Bracket | 94PO0002 | 239.98

## DirtyDog
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
DirtyDog
(For Large Dust) Option of Ceiling mount or on wheels
EL DirtyDog 1500 | AWAS2000DDB | 1475.98
EL DirtyDog 2000 | AWAS4000DDBF | 1775.98
Options
Chain Kit | A4AS1200 | 71.98
Flange Assembly 12" | AWAS0030 | 179.98
DirtyDog 1500 / 1000-1500 CFM
AR Wire Frame Pre-Filter (8 PACK) | AWFD2424-8 | 143.98
AR Bag 80% Filter | AWFH0415 | 95.98
AR Bag 60% Filter | AWFH0420 | 83.98
DirtyDog 2000 / 1500-2000 CFM
AR Wire Frame Pre-Filter (8 PACK) | AWFD2424-8 | 143.98
AR Bag 80% Filter | AWFH0415 | 95.98
AR Bag 60% Filter | AWFH0420 | 83.98

## CLeanBreeze
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
CLeanBreeze 3
Comes with a 12" hood and an adjustable arm
EL Clean Breeze 3 vocarb | A5AW41233110 | 2300
EL Clean Breeze 3 D vocarb | A5AW41234110 | 2499.98
EL Clean Breeze 3 DX vocarb | A5AW41236110 | 2699.98
EL Clean Breeze III vocarb ~ 400 CFM ~ 18lbs/ 2.5" - [3 speeds]
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 HEPA Filter | 3-A5FH0411 | 119.98 | 5
5000 Vocarb Carbon | 3-A5FCW225 | 239.98 | 18
EL Clean Breeze III vocarb ~ 400 CFM ~ 24lbs/ 3" - [3 speeds]
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 D Vocarb Carbon | 3-A5FCW230 | 359.98 | 24
EL Clean Breeze III vocarb ~ 400 CFM ~ 24lbs/ 3" - [3 speeds]
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 DX Vocarb Carbon | 3-A5FCW235 | 435.98 | 24
CLeanBreeze 2
Comes with a 12" hood and an adjustable arm
EL Clean Breeze 2 w/ arm | ACAS2000A | 3999.98
EL Clean Breeze III vocarb ~ 400 CFM ~ 24lbs/ 3" - [3 speeds]
- | - | - | - | - | -
- | - | - | - | - | -

## E_Other
MODEL |  |  | SHIPPING
Model / Part | SKU | Price | W / lbs | # Of BOXs | Box Dimension
ssu
Custom Unit
EL SSU (1 Tiere) |  | 13999.98
EL SSU (1 Tiere) UV |  | 14533.31
EL SSU (2 Tiere) |  | 21999.98
EL SSU (2 Tiere) UV |  | 23065.98
EL SSU (3 Tiere) |  | 29999.98
EL SSU (3 Tiere) UV |  | 31599.98
Print Safe
EL PrintSafe 5000 | A5UD21236110 | 1499.98
Parts
5000 Pre-Filters 4 Pack | A5FMP009-4 | 47.98 | 0
5000 Pre-Filters 8 Pack | 2-A5FMP009-8 | 71.98 | 0
5000 Pre-Filters 24 pack | A5FMPH09-24 | 203.98 | 0
5000 & AirMedic Micro-HEPA (D & DX models) | 3-A5FMR002 | 71.98 | 0
5000 DX Vocarb Carbon | 3-A5FCW235 | 435.98 | 27
5000 Carbon Wrap (D, DX, DS, DXS ) | A5FMWS02-2 | 119.98 | 0
AA Gasket (4000, 5000, 6000, 8000) | AM000926-2 | 47.98 | 0
UV 10W | A6EL9013-10W | 119.98 | 0
Laser 6000
EL Laser 6000 |  | 1999.98
(Option A) ~ 400 CFM ~ 24lbs/ 2.5" - [3 speeds]
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 HEPA filter | 3-A6FH0411 | 167.98 | 5
6000 Exec Carbon | 3-A6FCW325 | 239.98 | 24
6000 Vocarb Carbon | 3-A6FCW225 | 311.98 | 24
(Option B) ~ 400 CFM ~ 28lbs/ 3" - [3 speeds]
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98 | 0
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98 | 0
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98 | 0
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98 | 0
6000 D Exec Carbon | 3-A6FCW330 | 311.98 | 28
6000 D Vocarb Carbon | 3-A6FCW230 | 359.98 | 28
(Option B) ~ 400 CFM ~ 28lbs/ 3" - [3 speeds]
6000 Pre-Filters 4 Pack | 2-A6FMP012-4 | 71.98
6000 Pre-Filters 8 Pack | 2-A6FMP012-8 | 119.98
6000 Pre-Filters 24 pack | A6FMP012-24 | 323.98
6000 Micro-HEPA (D, DX, DS, DXS) | 3-A6FMR002 | 83.98
6000 DX Exec Carbon | 3-A6FCW335 | 395.98
6000 DX Vocarb Carbon | 3-A6FCW235 | 475.98
SafeSolder
CFM 40 / 1” Activated Carbon Filter, 1.5 lb.
EL SafeSolder 40 | S3AS12300001 | 499.98 | 15 lbs
Parts
SafeSolder Carbon 2 - pack | S2FC0500-2 | 95.98
SafeSolder Prefilter 6 - pack | S2FP0412-6 | 89.98
Easyflow
drum vent ~ 4 lbs of carbon
EL EZ Flow | P11A013 | 369.98 | 10 lbs
Bulk Carbon
Carbon Blened ( Small quantity orders: 1–22 lbs. = $50 surcharge / 23–44 lbs. = $20 surcharge)
Bulk Vocarb | 4-AM000912 | 7.98

## Calculator
Do not fill the Gray
CFM Cal. |  |  | Discount 15% |  | Black Friday week |  | Shipping + 30% Fuel
ROOM AREA |  |  | Unit/Part price | 15% discount |  |  | weight | SHIPPING | 30% fuel
length | 48 | feet | 899.98 | 764.983 |  |  |  | 27.46 | 35.698
width | 20 | feet
Room Height | 12 | foot | Discount 25% |  | Discount 27% |  | Quick Add Caluclate total
|  |  | Unit/Part price | 25% discount | Unit/Part price | 27% discount | Item |  | 47.98
Volume /CFM |  |  | 2799.98 | 2099.985 | 1 | 0.73 | Item |  | 119.98
Units CFM (Cubic Feet Per-mint ) | 400 | [5 empty] | Item |  | 155.98
Fill factor (# of units) | 2 |  | Discount 30% |  | Discount 32% |  | Item |  | 0
Room Volume | 11520 | sq3 | Unit/Part price | 30% discount | Unit/Part price | 32% discount | Item |  | 0
|  |  | 1329.98 | 930.986 | 1 | 0.68 | Total |  | 323.94
Air Exchange
Exchanges of air/hour | 4.1667 | P/hour | Discount 33% |  | Discount 35% |  | FINAL
An air exchange each | 14.4 | P/min | Unit/Part price | 33% discount | Unit/Part price | 35% discount | Price |  | 323.94
|  |  | 1329.98 | 891.0866 | 59.98 | 38.987 | Shipping |  | 35.698
[7 empty] | Total |  | 359.638
|  |  | Discount 37% |  | Discount 39%
|  |  | Unit/Part price | 37% discount | Unit/Part price | 39% discount
|  |  | 71.98 | 45.3474 | 1 | 0.61
|  |  | Discount 40% |  | Discount 42%
|  |  | Unit/Part price | 40% discount | Unit/Part price | 42% discount
|  |  | 96.98 | 58.188 | 1 | 0.58
Emplies only Discount 50%
|  |  | Unit/Part price | 50% discount
|  |  | 39.98 | 19.99

## Extra
Home environment
Type | USE for | Made from | ~ change | weight for 4000-8000
Carbon filter | Fumes/Odors /chemicals | steal housing/ rap | up to 5 Years | Same as carbon weight
HEPA | Particles /dust | fibers | 3-5 Years | [4000-6000 = 5 lb ] [8000 = 10 lb]
Pre-filter | extra filtration | fibers / or coton | 3-6 Month | less then 1 lb
UV- light | fungus /mold | lap | 1 Y or burnt out | less then 1 lb
HEPA |  |  | Waranty
MEDICAL Grade HEPA | 99.97% |  | 10 years | Numerical Series
SUPER HEPA | 99.97% |  | 5 years | U.V Numerical series
MICRO HEPA | 99% |  | 1 year | Electrocorp
25% restocking fee for any opend unit
spacial carbon blends
date | chemical | type of carbon |  | Price
2013-02-28 | H2S | Double vocarb |  | 7.98
2013-02-28 | Swear smell | Double vocarb |  | 7.98
2013-02-28 | Ammonia | ragular Vocarb |  | 7.18
2013-02-28 | Humidity ( les then 60% ) | Ziolite
2013-02-28 | Sulphamic acid | sulphmic carbon |  | 8.18
2013-03-04 | Nitric acid (HNO3) | Double vocarb
UV option
date | Item | SKU |  | Price
2013-02-28 | UV for electrocrop |  |  | 400
2013-02-28 | UV light for allerair | A4AS1301 |  | 200
2013-03-01 | UV light for RSUs |  |  | 200
Over Seas
date | type |  |  | Price
2013-02-28 | warranty | 1 year parts / no labor
2013-02-28 | 220-240 V | allerair |  | 80
2013-07-17 | 220-240 V | allerair |  | 95
| 220-240 V | electrocrop |  | ?
Upgrade Options
date | item | SKU |  | Price
2013-02-28 | Haning for airthino (Chain Kit) | A4AS1200 |  | 71.98
2013-02-28 | Walk mount | 8-A4PO0221 |  | 200
2013-03-05 | AirRhino flenge | AWAS0030 |  | 179.98
2013-03-05 | 220 V AirRhino |  |  | 250
| AllerAir Double Vocarb | A4UP0001 |  | 200
Discount Options
date |  |  |  | Price
2013-03-04 | for Doctors they can get | If they ask |  | 10%
2013-02-28 | Gasket for free | buy All filters at once for numerical series |  | 0
2013-02-28 | test kit |  |  | no dicount to dealers
2013-02-28 | bulk carbon |  |  | no dicount to dealers
other add ons, replacments,
2013-05-29 | 3 speed swtich | a4el0050 |  | 47.98
2013-05-31 | bootom Led | A4AS0201
Small quantity orders: 1–22 lbs. = $50 surcharge / 23–44 lbs. = $20 surcharge